## FCR important dates
Date | Event type | Event description
2012-04-25 | CS | FCR copper sulfate
2012-05-11 | BVR | Beaver dam valve OPENED
2012-06-05 | CS | FCR copper sulfate
2012-06-25 | CS | FCR copper sulfate
2012-07-17 | misc | Sediment coring
2012-07-18 | CS | FCR copper sulfate
2012-08-20 | SSS | SSS Installation (through 8/24/2012)
2012-09-28 | SSS | SSS Brief operation/testing period (through 10/4/2012)
2012-10-04 | SSS | SSS deactivation
2012-10-11 | BVR | Beaver dam valve CLOSED
2013-05-01 | CS | FCR copper sulfate
2013-05-14 | SSS | SSS activation 0.5 SCFM
2013-05-15 | INF | Weir sensor installed
2013-05-16 | SSS | SSS left to operate indefinitely
2013-06-05 | CS | FCR copper sulfate
2013-06-13 | SSS | SSS power outage (restarted on 6/17/13)
2013-06-17 | SSS | SSS restarted
2013-06-20 | SSS | SSS deactivation
2013-06-26 | CS | FCR copper sulfate
2013-08-01 | CS | FCR copper sulfate
2013-08-01 | SSS | SSS activation 0.5 SCFM
2013-09-04 | CS | FCR copper sulfate
2013-09-10 | BVR | Beaverdam valve OPENED 1 and 1/2 turns
2013-10-03 | SSS | SSS deactivation
2013-10-15 | SSS | SSS activation
2013-10-25 | WTP | FCR offline
2013-10-30 | SSS | SSS deactivation
2013-11-06 | WTP | FCR online
2014-01-06 | ICE | ice on
2014-01-15 | ICE | ice off
2014-01-28 | ICE | ice on
2014-02-23 | ICE | ice off
2014-04-23 | CS | FCR copper sulfate
2014-04-28 | BVR | Beaverdam valve OPENED 5-6 more turns
2014-04-28 | misc | Sediment core collection experiment 1
2014-04-30 | BVR | Beaverdam valve OPENED 39 more turns- middle valve
2014-05-06 | SSS | SSS activation 0.4 SCFM but operated at 0.59 due to problem with oxygen purity alarm
2014-05-10 | SSS | SSS turned down to 0.3 SCFM for 2 hrs at 10am, then turned to 0.1 SCFM at noon
2014-05-14 | SSS | SSS set to 0.4 SCFM at noon and kept at 0.4 for rest of period
2014-06-03 | SSS | SSS deactivation
2014-06-23 | misc | Sediment core collection experiment 2
2014-06-24 | BVR | Beaverdam valve OPENED 8 more turns- surface valve
2014-06-29 | SSS | SSS activation 0.4 SCFM
2014-07-22 | BVR | middle valve CLOSED
2014-07-29 | SSS | SSS deactivation
2014-08-18 | SSS | SSS activation 0.5 SCFM
2014-09-19 | WTP | FCR offline
2014-10-03 | CS | FCR copper sulfate
2014-11-10 | SSS | SSS deactivation
2014-11-19 | WTP | FCR online
2015-01-08 | ICE | ice on
2015-01-30 | ICE | ice off
2015-02-14 | ICE | ice on
2015-03-13 | ICE | ice off
2015-04-02 | CS | FCR copper sulfate
2015-05-05 | SSS | SSS activation at 0.3 SCFM at 2:10pm
2015-05-11 | SSS | SSS set to 0.15 SCFM at 10:00am
2015-05-18 | SSS | SSS set to 0.25 SCFM at 13:00
2015-05-26 | WTP | FCR offline
2015-05-29 | WTP | FCR online
2015-06-01 | SSS | SSS deactivation at 12:00
2015-06-01 | EM | VEM activation at 13:17 set at 30 SCFM, operated at 25 SCFM; VEM off at 17:05
2015-06-03 | EM | VEM activation at 10:50 set at 30 SCFM, operated at 25 SCFM; VEM off at 14:50
2015-06-08 | SSS | SSS set to 0.25 SCFM at 3:50pm
2015-06-22 | EM | VEM activation at 4 pm set at 10 SCFM, operated at 10 SCFM
2015-06-23 | SSS | SSS set to 0.4 SCFM @ 1307
2015-06-23 | SSS | SSS Flow Rate set to 56.000Hz_Flow Rate @ 65g/m
2015-06-24 | EM | VEM off @ 1600
2015-06-24 | WTP | FCR Offline @ 1500
2015-06-25 | WTP | FCR online @ 300 gpm (half of full operation)
2015-06-27 | WTP | FCR offline
2015-06-29 | WTP | FCR online
2015-06-30 | SSS | SSS set 0.45 scfm, remained at 65 g/m, at 13:30
2015-06-30 | WTP | FCR online @ 13:30
2015-07-09 | WTP | FCR Offline - VERIFY WHEN CAME BACK ONLINE!
2015-07-16 | misc | Flow pulse at 1658
2015-07-16 | SSS | SSS @56 gpm and SCFM @ .400 1400
2015-07-27 | SSS | SSS@55-56 gpm and SCFM @.300 1400
2015-07-28 | SSS | Diffuser line added to SSS. Turned off @ 1400, on at 1530.
2015-08-08 | SSS | SSS turned up to .400 SCFM. Still @ 56 gpm. @0943
2015-08-21 | misc | at 1500 1658 blowout activated FCR
2015-08-28 | misc | at 1500 1658 blowout deactivated FCR
2015-09-14 | misc | FCR sediment blowout.
2015-10-20 | SSS | SSS off
2015-10-22 | SSS | FCR SSS online
2015-10-23 | SSS | SSS on
2016-01-21 | ICE | ice on
2016-02-22 | ICE | ice off
2016-04-14 | CS | FCR copper sulfate
2016-04-18 | SSS | SSS activated 50 gpm and .400 scfm @1200
2016-05-09 | WTP | FCR Plant Shut down
2016-05-09 | WTP | FCR back online
2016-05-30 | EM | VEM run 0956 to 1556 @25 scfm
2016-06-10 | SSS | SSS turned down to .2500 scfm @ 0900
2016-06-27 | EM | VEM turned on @ 10:10 @ 15 scfm
2016-06-28 | EM | VEM turned off @ 10:11
2016-07-25 | EM | VEM turned on @ 10:10 @ 7 scfm
2016-07-25 | SSS | SSS still running @ 0.25 scfm @ 52gpm
2016-07-25 | EM | VEM turned up to 25 SCFM @ 15:22
2016-07-25 | EM | VEM turned down to 12.5 scfm @ 17:08
2016-07-25 | SSS | SSS turned up to 0.400 scfm @ 52 gpm
2016-07-25 | EM | VEM shuts off. System overhaul. Stays off.
2016-07-26 | EM | VEM back in opertion @ 12.5 scfm @ 10:22
2016-07-26 | SSS | SSS still runnin @ 0.4scfm @ 52 gpm
2016-07-27 | EM | VEM turned up to 25 scfm @ 11:32
2016-07-27 | SSS | SSS turned up to 0.5 scfm and 57 gpm @ 13:30
2016-07-27 | EM | VEM turned off @ 18:05_VEM is now off and SSS is operating @ 0.5 scfm @ 57 gpm
2016-08-26 | SSS | SSS turned down to 0.35 scfm still @ 57 gpm @ 16:25
2016-09-13 | SSS | Purity alarm going off @ 6:30
2016-09-13 | SSS | SSS on/off reset @ 18:50
2016-09-14 | SSS | Purity alarm going off @ 6:30
2016-09-14 | SSS | SSS on/off reset @ 17:30
2016-09-15 | SSS | Purity alarm going off @ 6:30
2016-09-15 | SSS | SSS on/off reset @ 18:25
2016-09-16 | SSS | Purity alarm still going off_ CCC and MEL turn PSI on O2 tank from 45 to 60
2016-10-01 | WTP | FCR plant shutdown @14:00 Mn levels too high tot treat
2016-10-09 | TO | FCR TURNOVER!!!!
2016-12-15 | WTP | FCR down due to an odor problem at 1658
2016-12-20 | misc | BLOWOUT from 1658 depth. Bad Odor problem. Unknown volume in blowout
2016-12-21 | misc | BLOWOUT is still ongoing.
2016-12-22 | misc | BLOWOUT ended_wasting water
2017-01-04 | CS | FCR treated with 200 pounds of copper sulfate in the waterbody and 50 pounds at the BVR weir runoff_THIS IS A LOT OF COPPER!!!!
2017-01-08 | ICE | ice on
2017-01-09 | ICE | ice off
2017-01-31 | misc | FCR blowoff from uppermost intake due to bad odors; plant still offline; blowout at a rate of "3-4 turns of valve"
2017-02-22 | WTP | FCR plant back online
2017-04-18 | SSS | Paul G repairs and turns on SSS at 16:00. 47 gpm att 0.35 scfm.
2017-05-17 | CS | FCR treated with copper sulfate
2017-05-29 | EM | EM activated for 24 hrs at 15 scfm
2017-07-07 | EM | EM activated for 8-10 hrs at 15 scfm
2017-07-08 | EM | EM activated for 8-10 hrs at 15 scfm
2017-07-09 | EM | EM activated for 8-10 hrs at 15 scfm
2017-07-19 | misc | FCR plant shutdown for positive results on HAA5 and chloroform; next DEQ testing scheduled for Oct.
2017-10-19 | INF | weir breached (best estimate based on pressure transducer data)
2017-10-25 | TO | FCR turnover
2017-10-30 | misc | DEQ testing? - DID THIS EVER HAPPEN?
2017-11-13 | INF | weir repair
2017-12-19 | SSS | Low purity alarm on; SSS off or at low capacity
2017-12-28 | ICE | FCR ice on; SSS completely shut down
2017-12-28 | SSS | SSS completely shut down
2018-01-08 | WTP | FCR plant online
2018-01-25 | ICE | FCR ice off
2018-02-20 | CS | FCR copper sulfate (?? lbs)
2018-03-12 | WTP | FCR plant offline
2018-04-23 | SSS | SSS on @ 0.3 SCFM and 48 gpm @midday (at noon exactly)
2018-07-19 | SSS | SSS turned up to 56 gpm and 0.4 scfm, but started malfunctioning ~ 6 p.m. when DO starts dropping. For purpose of GLM inflow file, assuming 0 SCFM actually happened but gpm was still at 56 gpm
2018-07-23 | INF | brief opening of weir at 12:30 in an attempt to flush sediment (probably affects readings for about an hour)
2018-07-30 | SSS | compressor fan failure; SSS OFF
2018-08-09 | SSS | SSS turned on at 50 gpm and 0.35 scfm; oxygen purity 90%; time on was 5:30 pm; but subsequent monitoring determined oxygenation unsuccessful
2018-09-10 | SSS | T-joint broke in lake pump plumbing in shed; shed flooded; giving up on SSS for now; SSS OFF
2018-10-21 | TO | FCR turnover
2019-01-27 | ICE | FCR ice on
2019-02-02 | ICE | FCR ice off
2019-02-28 | CS | FCR copper sulfate (200 lbs)
2019-03-20 | CS | FCR copper sulfate (100 lbs; 12:15-13:30 p.m.)
2019-04-24 | SSS | Ryan turned on SSS for a short-term test: 0.5 SCFM, 52 gpm; 60% purity GUESS 2.5 MAX but unsure
2019-05-13 | SSS | Ryan turned on SSS at 15:15 at 0.5 SCFM and 52 gpm and then turned off at 16:35
2019-06-03 | SSS | SSS on at 15:57 at 0.5 SCFM and 52 gpm
2019-06-06 | INF | we deployed the new weir!!!
2019-06-17 | SSS | SSS off at 15:04pm
2019-07-08 | SSS | SSS on 13:34 at 0.5 SCFM and 52 gpm
2019-07-19 | SSS | SSS off at 15:00 due to brownout in reservoir; when sampled on 7/22, found SSS at water surface
2019-08-05 | SSS | SSS on at 12:45pm at 0.5 SCFM and 52 gpm
2019-08-19 | SSS | SSS off at 11:32am
2019-09-02 | SSS | SSS on at 52 gpm and 0.5 SCFM at 13:00; Dolichosphermum surface bloom & surface scum
2019-12-01 | SSS | SSS off midday
2020-04-01 | ICE | Officially no ice this winter- my heart is broken
2020-06-29 | SSS | turned SSS on at 14:30 (0.5 SCFM, 52 gpm)
2020-07-06 | SSS | SCFM had dropped to 0.25, changed flow to 40 hz at 15:00, changed flow to 45 hz at 16:05
2020-07-09 | SSS | Changed flow to 47 hz at 16:00, changed flow to 49 hz at 16:30, changed flow to 50 hz at 17:03
2020-07-12 | SSS | Pump shut off in storm
2020-07-13 | SSS | SSS at surface. Pump turned on at 8:40
2020-07-22 | SSS | Pump shut of in storm sometime in am
2020-07-23 | SSS | SSS at surface. Pump turned on at 9:35
2020-07-27 | SSS | Not sure if SSS is working at full capacity - SSS blowout at 12:32
2020-07-30 | SSS | manual blowoff at 10:00
2020-07-31 | SSS | manual blowoff at 16:30 - set to go off every night at 19:30
2020-08-04 | SSS | manual blowoff at 19:57 - set timer to go off at 20:00 every day
2020-09-11 | SSS | SSS off at 13:25
2020-09-25 | SSS | SSS on at 12:55; manual blowoff at 13:01
2020-12-02 | SSS | SSS off at 13:10
Note on A131: Checked the hours logbook at plant and I don't think we can actually use that to verify the hours that the compressor was on. :( -Mary Lofton
Note on C176: need to look at 9m thermistor data as a check on SSS rates -Heather Wander

## Notes and Questions
Questions | Notes
1. Does this format work for folks? Thoughts on event type codes? | 1. Always record gpm, time, and scfm when recording an SSS flow change event
2. Do we have a record of turnover dates prior to 2016?
3. Do we want to keep track of any BVR dates in this file? If so, what?
4. Do we want to integrate CCC's ice on-off record with this log?
5. Do we want to keep track of inflow events here as well?